## Sheet1
Restroom Standards
Description | Brand | Model | Color | Notes
Hand Dryer /Surface Mount | Excel Dryers Inc. | HO-IW | White | Add 1/8" Stainless plate under dryer
Foam Soap Dispenser | Waxie | 1250ML | Black
Toilet Paper 10" Twin Tissue Dispenser | Provided by Owner | DS-3040 | Smoke/Black
Bi Level Drinking Fountain Wall Mount | Murdock | GYE24-R | Stainless | Make sure to have bottle filler.
Water Closet | Acorn | 1696-W-1 | Stainless | Make sure to order carrier through the wall
Urinal | Acorn | 1709HEU | Stainless
Celling Heater | Dayton | 2YU47 | White
Sink | Acorn | 1652LRB | Stainless
Faucet | Sloan | EAF-300-PLG-CP-1.5GPM-AER-IQ-FCT | Polished Crome
Mop Sink | MUSTEE | 63M | White | 24x24 mop sink or approved equal.
Mop Faucet | Moan | 8230 | Crome | Two-Handle Service Sink Faucet.
Flush Valve | Sloan | 152 ESS 1.28-OR-3/4-LDIM-HW | N/A
Mechanical Room Lights | Cooper | Fail-Safe HVSL4 | White
Wall Lights | RAB | WP2XFU100/LCBS | Bronze | Please provide a photo cell for this.
Occupancy Sensor | Any |  |  | Please provide a celling mounted occupancy sensor in each restroom
Diaper changing table | Horizontal fold down changing station |  |  | 250 lbs. minimum support capacity
Mirror | Silver Flat Glass Mirror | 24" x 36" Tall
Partitions | Hadrian Partitions | Solid plastic Headrail Braced Paisley 227
ADA Grab bars | Any
Locks | Trilogy | DL400 / DL4500 Series
Roofing | 26 Guage metal | Tuff-RIB
Block | 8x16 CMU | TBD | TBD | All block is to be grouted solid.
Metal Doors and frames | TBD | TBD | TBD | On doors should be 3'0"x7'0" with 2" side jams and 4" head to prevent block cuts.
Windows | N/A |  |  | 3/8" Sandblasted lexan with aluminum store front windows.
PAINT
Interior block walls first coat | PPG | Speed hide block filler 6-15XL
Interior second coat | PPG | Pitt Glaze WB epoxy SG 16-1510
Finish Coat | PPG | Pitt Glaze WB epoxy SG 16-1510
Interior concrete floors first coat | Amerlock | Epoxy AK1
Finish Coat | Amerlock | Epoxy AK2
Exterior metal doors two coats | Benjamin More | Exterior Ultraspec Satin
Exterior Block Graffiti Coatings | Prosco | Block Guard 2 Graffiti Control